## Sheet1
| Genset | Grid | Weak Grid | load | cost_loss_load | cost_overgeneration | cost_co2 | PV_rated_power | battery_soc_0 | battery_power_charge | battery_power_discharge | battery_capacity | battery_efficiency | battery_soc_min | battery_soc_max | battery_cost_cycle | grid_weak | grid_power_import | grid_power_export | genset_polynom_order | genset_polynom_0 | genset_polynom_1 | genset_polynom_2 | genset_rated_power | genset_pmin | genset_pmax | fuel_cost | genset_co2 |  | RBC | MPC | SAA - 85 | SAA - 70 | SAA - 50
0 | 0 | 1 | 0 | 960 | 10 | 1 | 0.1 | 969.6 | 0.2 | 363 | 363 | 1452 | 0.9 | 0.2 | 1 | 0.02 | 0 | 1920 | 1920 | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN |  | 378640.91 | 346870.8 | 350482.41 | 350479.61 | 350156.66
1 | 1 | 1 | 1 | 60363 | 10 | 1 | 0.1 | 30785.13 | 0.2 | 22819 | 22819 | 91274 | 0.9 | 0.2 | 1 | 0.02 | 1 | 120726 | 120726 | 3 | 1.6356 | 0.43585 | 0.045227 | 67070 | 0.05 | 0.9 | 0.4 | 2 |  | 12342174.09 | 11509187.85 | 12296936.57 | 12292667.55 | 12313182.46
2 | 1 | 0 | 0 | 43725 | 10 | 1 | 0.1 | 54219 | 0.2 | 16529 | 16529 | 66116 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 6.6818 | 0.89581 | 0.005779 | 48584 | 0.05 | 0.9 | 0.4 | 2 |  | 26354200.11 | 24297718.09 | 24392764.65 | 24395929.07 | 24385136.89
3 | 1 | 0 | 0 | 78147 | 10 | 1 | 0.1 | 38292.03 | 0.2 | 25613 | 25613 | 102450 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 4.7662 | 0.76362 | 0.025826 | 86830 | 0.05 | 0.9 | 0.4 | 2 |  | 37997931.74 | 36405530.59 | 36500483.29 | 36508607.37 | 36504692.17
4 | 0 | 1 | 0 | 49813 | 10 | 1 | 0.1 | 73225.11 | 0.2 | 16327 | 16327 | 65305 | 0.9 | 0.2 | 1 | 0.02 | 0 | 99625 | 99625 | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN |  | 3739664.4 | 3708571.01 | 3728496.5 | 3731615.33 | 3732620.99
5 | 1 | 0 | 0 | 28560 | 10 | 1 | 0.1 | 30559.2 | 1 | 14396 | 14396 | 57581 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 5.8618 | 0.35724 | 0.057705 | 31734 | 0.05 | 0.9 | 0.4 | 2 |  | 18740686.79 | 17807680.11 | 17823766.93 | 17829417.44 | 17824087.18
6 | 0 | 1 | 0 | 49216 | 10 | 1 | 0.1 | 53645.44 | 0.9603 | 44844 | 44844 | 179373 | 0.9 | 0.2 | 1 | 0.02 | 0 | 98432 | 98432 | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN |  | 11175330.39 | 11173162.81 | 11173149.81 | 11173151.76 | 11173155.8
7 | 1 | 0 | 0 | 11798 | 10 | 1 | 0.1 | 10028.3 | 1 | 4834 | 4834 | 19334 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 9.202 | 0.049159 | 0.05735 | 13109 | 0.05 | 0.9 | 0.4 | 2 |  | 4822846.56 | 4546518.27 | 4577741.4 | 4575800.25 | 4574316.03
8 | 1 | 1 | 1 | 64065 | 10 | 1 | 0.1 | 34595.1 | 0.2 | 26396 | 26396 | 105583 | 0.9 | 0.2 | 1 | 0.02 | 1 | 128130 | 128130 | 3 | 0.45331 | 0.36162 | 0.075648 | 71184 | 0.05 | 0.9 | 0.4 | 2 |  | 24199614.61 | 21679280.19 | 21886592.22 | 21898719.66 | 21891268.32
9 | 1 | 1 | 1 | 98996 | 10 | 1 | 0.1 | 136614.48 | 0.53748 | 49897 | 49897 | 199587 | 0.9 | 0.2 | 1 | 0.02 | 1 | 197992 | 197992 | 3 | 2.8048 | 0.42929 | 0.017715 | 109996 | 0.05 | 0.9 | 0.4 | 2 |  | 18127052.94 | 13748867.42 | 16383102.51 | 16142909.3 | 16057846.25
10 | 1 | 1 | 0 | 60144 | 10 | 1 | 0.1 | 59542.56 | 0.2 | 54801 | 54801 | 219201 | 0.9 | 0.2 | 1 | 0.02 | 0 | 120288 | 120288 | 3 | 6.7152 | 0.21329 | 0.033907 | 66827 | 0.05 | 0.9 | 0.4 | 2 |  | 38212217.1 | 33169079.81 | 33326881.18 | 33316902.95 | 33309594.79
11 | 0 | 1 | 0 | 27615 | 10 | 1 | 0.1 | 29548.05 | 1 | 17399 | 17399 | 69594 | 0.9 | 0.2 | 1 | 0.02 | 0 | 55230 | 55230 | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN |  | 3650017.27 | 3629311.52 | 3629864.42 | 3629929.64 | 3629675.13
12 | 0 | 1 | 0 | 48214 | 10 | 1 | 0.1 | 63642.48 | 0.2 | 35932 | 35932 | 143726 | 0.9 | 0.2 | 1 | 0.02 | 0 | 96428 | 96428 | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN |  | 19988748.54 | 17673828.84 | 18408580.75 | 18378902.37 | 18375706.83
13 | 1 | 1 | 0 | 19941 | 10 | 1 | 0.1 | 8774.04 | 0.2 | 11889 | 11889 | 47556 | 0.9 | 0.2 | 1 | 0.02 | 0 | 39882 | 39882 | 3 | 0.93608 | 0.42646 | 0.023528 | 22157 | 0.05 | 0.9 | 0.4 | 2 |  | 3931697.66 | 3931697.66 | 3931697.66 | 3931697.66 | 3931697.66
14 | 0 | 1 | 0 | 98643 | 10 | 1 | 0.1 | 82860.12 | 0.2 | 40643 | 40643 | 162570 | 0.9 | 0.2 | 1 | 0.02 | 0 | 197286 | 197286 | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN |  | 9960091 | 9941996.01 | 9965157.78 | 9965481.87 | 9965795.18
15 | 1 | 0 | 0 | 17296 | 10 | 1 | 0.1 | 16604.16 | 1 | 6539 | 6539 | 26153 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 7.0085 | 0.90801 | 0.009175 | 19218 | 0.05 | 0.9 | 0.4 | 2 |  | 11025690.02 | 10591050.32 | 10600340.83 | 10599900.56 | 10602664.72
16 | 0 | 1 | 0 | 48622 | 10 | 1 | 0.1 | 70015.68 | 0.53412 | 15025 | 15025 | 60099 | 0.9 | 0.2 | 1 | 0.02 | 0 | 97244 | 97244 | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN | NaN |  | 11156653.83 | 10443998.89 | 10971778.08 | 10967205.21 | 10939122.57
17 | 1 | 0 | 0 | 31257 | 10 | 1 | 0.1 | 15628.5 | 0.2 | 9659 | 9659 | 38636 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 6.6387 | 0.25022 | 0.003462 | 34730 | 0.05 | 0.9 | 0.4 | 2 |  | 17318577.64 | 16892740.61 | 16928746.26 | 16936004.81 | 16931943.69
18 | 1 | 1 | 0 | 34418 | 10 | 1 | 0.1 | 11702.12 | 1 | 20520 | 20520 | 82080 | 0.9 | 0.2 | 1 | 0.02 | 0 | 68836 | 68836 | 3 | 0.042751 | 0.97571 | 0.034958 | 38243 | 0.05 | 0.9 | 0.4 | 2 |  | 7096504.3 | 7096504.3 | 7096504.3 | 7096504.29 | 7096504.29
19 | 1 | 0 | 0 | 1529 | 10 | 1 | 0.1 | 565.73 | 0.2 | 627 | 627 | 2506 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 3.5712 | 0.27075 | 0.066749 | 1699 | 0.05 | 0.9 | 0.4 | 2 |  | 815032.27 | 767025.36 | 768737.62 | 768906.61 | 768666.76
20 | 1 | 0 | 0 | 79186 | 10 | 1 | 0.1 | 105317.38 | 0.2 | 32442 | 32442 | 129765 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 7.3361 | 0.9711 | 0.069041 | 87985 | 0.05 | 0.9 | 0.4 | 2 |  | 27146071.18 | 24445069.34 | 24651287.65 | 24632276.95 | 24704538.36
21 | 1 | 0 | 0 | 95435 | 10 | 1 | 0.1 | 136472.05 | 0.2 | 42674 | 42674 | 170694 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 0.46635 | 0.22992 | 0.09456 | 106039 | 0.05 | 0.9 | 0.4 | 2 |  | 68534055.98 | 65752571.66 | 66123400.56 | 66152493.52 | 66124766.78
22 | 1 | 1 | 1 | 80372 | 10 | 1 | 0.1 | 111717.08 | 0.2 | 73231 | 73231 | 292924 | 0.9 | 0.2 | 1 | 0.02 | 1 | 160744 | 160744 | 3 | 9.5324 | 0.69351 | 0.058543 | 89303 | 0.05 | 0.9 | 0.4 | 2 |  | 17368177.09 | 17344517.9 | 17345160.93 | 17344780.03 | 17345070.29
23 | 1 | 0 | 0 | 9453 | 10 | 1 | 0.1 | 9169.41 | 0.2 | 3574 | 3574 | 14294 | 0.9 | 0.2 | 1 | 0.02 | NaN | NaN | NaN | 3 | 7.5509 | 0.62145 | 0.058777 | 10504 | 0.05 | 0.9 | 0.4 | 2 |  | 6608053 | 6377003.55 | 6380670.6 | 6379713.64 | 6379885.01
24 | 1 | 1 | 1 | 50157 | 10 | 1 | 0.1 | 36614.61 | 0.2 | 25832 | 25832 | 103328 | 0.9 | 0.2 | 1 | 0.02 | 1 | 100314 | 100314 | 3 | 1.6748 | 0.83784 | 0.027447 | 55730 | 0.05 | 0.9 | 0.4 | 2 |  | 8067070.13 | 6318824.15 | 7197148.97 | 7244385.85 | 7191337.47
[29 empty] | Total cost: | 408756799.55 | 379598607.06 | 386439473.88 | 386244383.3 | 386103432.28